## Log Book
Sr. No. | Certificate No. | Customer Name and Address | Contractor Name and Address | Appliance Name | Appliance Make and Model Number | Sr. No./Tag No. of Appliance | Location of Appliance | Class of the Appliance (1 or 2) | Test Date | Next Test Due in Month | Test Due Date | Tested By | Visual Test (Pass/Fail) | Earth Bond Test Value in Ohms | Insulation @ 250 V | Insulation @ 500 V | Sub Leakage Current in mA | IEC Lead RPE in Ohms | IEC Lead Insulation Value | IEC Lead Polarity Test
1 | 21C10011 | Park Central Hotel, 870 7th Ave, New York - United States | GAZELLE Industrial, New York - United States | Electric Kettle | Black+Dacker JC70-B5 | 865867 | Park Central Hotel, Room No. 1001 | 1 | 2020-09-01 | 6 | 2021-02-28 | John Paul | pass | 0.2 | 76 | 89 | 4.9 | 0.2 | 78 | pass
2 | 21C10012 | The Peninsula, Chicago - United States | GAZELLE Industrial, New York - United States | Electric Iron | PHILIPS | EI-147 | Suite No. 52 | 2 | 2020-11-12 | 6 | 2021-05-11 | Eric Kotler | pass | 0.1 | 88 | 98 | 3.2 | 0.1 | 98 | pass
3 | 21C10013 | Cleveland Clinic, 33 Grosvenor Pl, London SW1X 7HY, United Kingdom | GAZELLE Industrial, New York - United States | Cardiac Simulator | KYOTO KAGAKU | A2383H23 | Ward No. 6 Room No. 23 | 2 | 2020-12-14 | 6 | 2021-06-13 | Oliver | pass | 0.2 | 89 | 97 | 2.7 | 0.1 | 98 | pass
4 | 21C10014 | UCLA Medical Center, Los Angeles United States | GAZELLE Industrial, New York - United States | Oxygen Concentrators Ventilators | MEDTRONIC | S872339 | Room No. 92 | 2 | 2020-12-16 | 6 | 2021-06-15 | William | pass | 0.1 | 84 | 92 | 3.6 | 0.2 | 98 | pass
5 | 21C10015 | cappstone, 1699 VALENCIA STREET, SAN FRANCISCO, CA | GAZELLE Industrial, New York - United States | Air Conditioner | DIAKEN | ACD77 | Service Area | 1 | 2020-12-22 | 6 | 2021-06-21 | James | pass | 0.2 | 91 | 96 | 3.1 | 0.1 | 98 | pass
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
#REF! | [10 empty] | FAIL
Formulas:
Test Due Date = IF([Next Test Due in Month]=0,"FAIL",(DATE(YEAR([Test Date]),MONTH([Test Date])+[Next Test Due in Month],DAY([Test Date])-1)))

## CERTIFICATE
CERTIFICATE FOR APPLIANCE TESTING
Certificate Number |  |  | : | 21C10012
Customer Name and Address |  |  | : | THE PENINSULA, CHICAGO - UNITED STATES
Contractor Name and Address |  |  | : | GAZELLE INDUSTRIAL, NEW YORK - UNITED STATES
Description of Appliance
Appliance Name |  |  | : | ELECTRIC IRON |  |  |  | Class of the Appliance |  |  | : | CLASS 2
Model Number |  |  | : | PHILIPS |  |  |  | Test Date |  |  | : | 2020-11-12
Serial No. / Tag No. of the Appliance |  |  | : | EI-147 |  |  |  | Next Test Date |  |  | : | 2021-05-11
Location of the Appliance |  |  | : | SUITE NO. 52
PAT Tester Details
Model No.: |  | GAZELLE G9308 |  |  | Serial No.: |  | C214173580 |  |  | CAL Due: | 2022-12-27
Test Steps: |  |  |  | Limit Value |  |  |  | Test Value |  |  |  | Result
Visual Test of Mains Cable & Appliance |  |  |  |  | -- |  |  | PASS |  |  |  | PASS
Earth Bond Test |  |  |  |  | -- |  |  | -- |  |  |  | N/A
Insulation Test @ 250 V |  |  |  | min | 2 | MΩ |  | 88 | MΩ |  |  | PASS
Insulation Test @ 500 V |  |  |  | min | 2 | MΩ |  | 98 | MΩ |  |  | PASS
Sub-leakage Current |  |  |  | max | 5 | mA |  | 3.2 | mA |  |  | PASS
IEC Lead RPE |  |  |  | max | 0.2 | Ω |  | 0.1 | Ω |  |  | PASS
IEC Lead Insulation |  |  |  | min | 2 | MΩ |  | 98 | MΩ |  |  | PASS
IEC Lead Polarity |  |  |  |  | -- |  |  | PASS |  |  |  | PASS
Remarks: | TEST HAS BEEN MADE CORRECTLY, TEST PASSED.
Inspector: |  | ERIC KOTLER | [5 empty] | Signature ______________________
- End of the Certificate -

## PAT Tester Details
Name: | Potable Appliance Tester
Make: | Gazelle
Model No.: | G9308
Serial No.: | c214173580
Calibration Date: | 2021-12-28
Calibration Due Date: | 2022-12-27